## DV_sheet_ (hidden)
Yes | No | Yes
| Yes, the Supplier is a Joint Venture | No

## Pricing Form
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Description | Intend To Respond | Currency | Unit of Measure | * Price | Quantity | Ceiling Value | Allowance
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Item or lot description | Intend To Respond | Currency | Unit of Measure |  |  | Ceiling Value
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
5.1 | The Instructions to Pricing is attached.
5.2 | Price Form |  |  |  |  | Yes | CAD
5.2.1 | Base Bid
5.2.1.1 | Site 1 - 160 Rivalda Rd | [5 empty] | CAD | Lump Sum |  | 1
5.2.2 | Unit Prices - All Sites
5.2.2.1 | 150 mm thick Concrete cast-in-place, slab on grade complete with finishes |  |  |  | Per Square Metre |  | CAD
5.2.2.2 | Ceramic floor tile supplied and installed, complete with adhesives and grout |  |  |  | Per Square Metre |  | CAD
5.2.2.3 | Wall Type W1A |  |  |  | Per Square Metre |  | CAD
5.2.2.4 | Wall Type W1B |  |  |  | Per Square Metre |  | CAD
5.2.2.5 | Wall Type W1C |  |  |  | Per Square Metre |  | CAD
5.2.2.6 | Wall Type W1D |  |  |  | Per Square Metre |  | CAD
5.2.2.7 | Wall Type W2A |  |  |  | Per Square Metre |  | CAD
5.2.2.8 | Wall Type W2B |  |  |  | Per Square Metre |  | CAD
5.2.2.9 | Wall Type W2C |  |  |  | Per Square Metre |  | CAD
5.2.2.10 | Wall Type W2D |  |  |  | Per Square Metre |  | CAD
5.2.2.11 | Wall Type W2E |  |  |  | Per Square Metre |  | CAD
5.2.2.12 | Wall Type W2F |  |  |  | Per Square Metre |  | CAD
5.2.2.13 | Wall Type W3A |  |  |  | Per Square Metre |  | CAD
5.2.2.14 | Wall Type W3B |  |  |  | Per Square Metre |  | CAD
5.2.2.15 | Wall Type W3C |  |  |  | Per Square Metre |  | CAD
5.2.2.16 | Wall Type W4A |  |  |  | Per Square Metre |  | CAD
5.2.2.17 | Wall Type W4B |  |  |  | Per Square Metre |  | CAD
5.2.2.18 | Wall Type W5 |  |  |  | Per Square Metre |  | CAD
5.2.2.19 | Drywall Ceiling |  |  |  | Per Square Metre |  | CAD
5.2.2.20 | T-Bar Ceiling |  |  |  | Per Square Metre |  | CAD
5.2.2.21 | NPS 3 sanitary piping including fittings, supplied and installed, aboveground |  |  |  | Metre |  | CAD
5.2.2.22 | NPS 6 sanitary piping including fittings, supplied and installed, aboveground |  |  |  | Metre |  | CAD
5.2.2.23 | NPS 1 Domestic hot and cold water piping complete with fittings, hangers and insulation |  |  |  | Metre |  | CAD
5.2.2.24 | NPS 2 Domestic hot and cold water piping complete with fittings, hangers and insulation |  |  |  | Metre |  | CAD
5.2.2.25 | NPS 1 natural gas piping complete with fittings and support |  |  |  | Metre |  | CAD
5.2.2.26 | NPS 2 natural gas piping complete with fittings and support |  |  |  | Metre |  | CAD
5.2.2.27 | Sprinkler head complete with 5m of NPS 1 fire protection piping, fittings and support |  |  |  | Each |  | CAD
5.2.2.28 | Sprinkler head complete with 5m of NPS 2 fire protection piping, fittings and support |  |  |  | Each |  | CAD
5.2.2.29 | 300x300 mm HVAC supply air Ductwork complete with insulation, fittings and hangers |  |  |  | Metre |  | CAD
5.2.2.30 | 600x600 mm HVAC supply air Ductwork complete with insulation, fittings and hangers |  |  |  | Metre |  | CAD
5.2.2.31 | 19 mm Rigid galvanized steel conduit including fittings, couplings, pull boxes and supports |  |  |  | Metre |  | CAD
5.2.2.32 | 32 mm Rigid galvanized steel conduit including fittings, couplings, pull boxes and supports |  |  |  | Metre |  | CAD
5.2.2.33 | 15A single pole wall switch, complete with 10m of wiring, conduit, box, cover and connected |  |  |  | Each |  | CAD
5.2.3 | Hourly Rates - All Sites
5.2.3.1 | Project Manager |  |  |  | Per Hour |  | CAD
5.2.3.2 | Site Supervisor |  |  |  | Per Hour |  | CAD
5.2.3.3 | Project Coordinator |  |  |  | Per Hour |  | CAD
5.2.3.4 | Senior technician |  |  |  | Per Hour |  | CAD
5.2.3.5 | Intermediate technician |  |  |  | Per Hour |  | CAD
5.2.3.6 | Junior technician |  |  |  | Per Hour |  | CAD
5.2.3.7 | General Labourer |  |  |  | Per Hour |  | CAD
5.3 | Cash Allowances |  |  |  |  | Yes | CAD |  |  |  | 265000
5.3.1 | Additional work associated with Abatement Work under Division 02 | [5 empty] | CAD |  |  |  |  | 80000
5.3.2 | Testing and Inspections | [5 empty] | CAD |  |  |  |  | 80000
5.3.3 | Additional work associated with Specifications Section 10 - Temporary facilities under Division 01 | [5 empty] | CAD |  |  |  |  | 20000
5.3.4 | Miscellaneous Facility Repairs | [5 empty] | CAD |  |  |  |  | 50000
5.3.5 | Interior Signage | [5 empty] | CAD |  |  |  |  | 5000
5.3.6 | Furniture and equipment removal/relocation and disposal | [5 empty] | CAD |  |  |  |  | 10000
5.3.7 | Electrical Investigations & Wire Tracing | [5 empty] | CAD |  |  |  |  | 20000
Note on J8: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J10: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J11: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J12: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J13: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J14: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J15: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J16: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J17: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J18: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J19: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J20: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J21: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J22: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J23: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J24: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J25: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J26: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J27: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J28: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J29: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J30: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J31: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J32: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J33: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J34: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J35: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J36: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J37: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J38: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J39: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J40: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J41: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J42: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J44: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J45: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J46: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J47: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J48: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J49: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling
Note on J50: Answer Type: Money Number of decimal places: 2 Acceptable Values: Limited Range. From $0.00 CAD to ceiling